# ZENODO - RAW OPS Dataset — Summary (EN)

# 1️⃣ RAW OPS Dataset — Summary (EN)

## Table — Summary of operational power-system disturbances (Apr–Aug 2024)

| Category | Number of events | Share |
| --- | --- | --- |
| Total operational events | 86 | 100% |
| Generation disturbances | 34 | 39% |
| Transmission line outages | 32 | 37% |
| Transformer / substation events | 10 | 12% |
| Protection-triggered events | 6 | 7% |
| Weather-related events | 11 | 13% |

Note: Some events belong to multiple categories (e.g., weather-triggered transmission outages).

# 2️⃣ Hazard driver distribution

## Table — Hazard drivers of OPS events

| Hazard family | Events | Share |
| --- | --- | --- |
| TECH | 60 | 70% |
| ENV | 15 | 17% |
| UNKNOWN | 11 | 13% |

Environmental drivers include:

- lightning strikes

- convective storms

- wildfire proximity

- vegetation management actions

# 3️⃣ Event duration distribution

## Table — Duration of operational disturbances

| Duration class | Events |
| --- | --- |
| <1h | 34 |
| 1–6h | 31 |
| 6–24h | 10 |
| 1–3d | 6 |
| >3d | 5 |

Interpretation:

Most disturbances represent short operational interruptions, typical for transmission and generation operations.

# 4️⃣ OPS disturbances relative to geomagnetic storm

To je zelo dobra tabela za Space Weather članek.

## Table — Operational disturbances relative to the geomagnetic storm window

| Phase | Period | Events |
| --- | --- | --- |
| Pre-event baseline | Apr 1 – May 8 | 25 |
| Storm impact window | May 9 – May 11 | 4 |
| Immediate post-storm | May 12 – May 31 | 18 |
| Late post-storm | Jun – Aug | 39 |

Interpretation:

The operational dataset shows no widespread systemic cascade, but several disturbances occurred during and shortly after the geomagnetic storm window, particularly affecting voltage control and generation assets.

# 5️⃣ Table — Most severe operational disturbances

| Event | Date | Duration | Type |
| --- | --- | --- | --- |
| 400/110 kV transformer outage (Maribor) | 12 Apr | 7d | transformer |
| STATCOM outage during voltage oscillations | 9 May | 4h | voltage stability |
| TEŠ Unit 6 outage | 27 May | 6h | generation |
| 400 kV Divača–Redipuglia shutdown | 18 Jul | 10h | wildfire proximity |

These events represent the largest infrastructure stressors in the operational dataset.

# 6️⃣ TSV header for the FINAL dataset

copy-paste ready TSV structure.

event_id	day_key	event_type	event_group_id	event_title_short	date_start	time_start_local	date_end	time_end_local	duration_hours	duration_class	location_text	extent_class	affected_regions_count	affected_municipalities_n	event_summary_short	raw_description_150_200w	sector_primary	sector_secondary	hazard_family	hazard_subtype	source_url_primary	source_url_secondary_list	source_code	source_name_primary	source_name_page_ref	source_document_type	source_type	source_reliability_rank	sc_env_0to3	sc_E_0to3	sc_D_0to3	sc_T_0to3	sc_severity_0to5	sc_extent_0to5	sc_duration_0to5	sc_cascade_0to5	sc_confidence_0to5	sc_notes

This is  39 columns.