# ZENODO - RAW OPS EVENTS — Coding and Methodological Guidance

RAW OPS EVENTS — Coding and Methodological Guidance

# RAW OPS EVENTS — Coding and Methodological Guidance

## 1. Purpose of the OPS Events Dataset

The RAW OPS events dataset records operational disturbances observed within the electricity system during the study period. These events represent internal operational signals of infrastructure stress, captured from transmission system operator (TSO) operational reports and related technical documentation.

Unlike externally visible incidents reported in media or public emergency reporting systems, OPS events reflect technical and operational disturbances within infrastructure systems, such as:

- generation unit trips

- transmission line outages

- transformer protection activations

- voltage control disturbances

- weather-related operational trips

These events provide insight into internal system dynamics and operational resilience.

The OPS dataset complements the RAW EVENTS dataset, which captures externally observable impacts. Together, these datasets enable analysis of both operational system stress and societal-level disruptions.

# 2. Data Sources

OPS events were collected from official operational reporting by the Slovenian transmission system operator (TSO) and related infrastructure operators.

Primary sources include:

- TSO weekly operational reports

- TSO monthly operational reports

- technical infrastructure incident summaries

All sources represent official operational documentation.

Each event record includes source metadata:

- source name

- source document type

- reference section or page

- reliability ranking

Operational reports are classified as high-reliability sources.

# 3. Event Definition

An OPS event is defined as:

A technically identifiable operational disturbance affecting electricity generation, transmission, or related infrastructure components.

Typical OPS events include:

- generation unit trips

- transmission line outages

- transformer protection trips

- voltage control device outages (e.g., STATCOM)

- substation disturbances

- storm-induced line trips

Events are recorded when they represent measurable operational changes or disturbances within the infrastructure system.

Routine maintenance without operational disturbance is not recorded unless it affects system operation.

# 4. Dataset Structure

The dataset follows a standardized 39-column schema, enabling consistent analysis and integration with the broader infrastructure stress framework.

Key categories of variables include:

### Event identification

- event_id

- day_key

- event_type

- event_group_id

### Temporal information

- date_start

- time_start_local

- date_end

- time_end_local

- duration_hours

- duration_class

### Spatial information

- location_text

- extent_class

- affected_regions_count

- affected_municipalities_n

### Event description

- event_summary_short

- raw_description_150_200w

### Hazard classification

- hazard_family

- hazard_subtype

### Source metadata

- source_code

- source_name_primary

- source_document_type

- source_type

- source_reliability_rank

### Infrastructure stress scoring

- sc_env_0to3

- sc_E_0to3

- sc_D_0to3

- sc_T_0to3

- sc_severity_0to5

- sc_extent_0to5

- sc_duration_0to5

- sc_cascade_0to5

- sc_confidence_0to5

# 5. Hazard Classification

Each event is classified according to hazard family and hazard subtype.

Hazard families include:

- TECH – technical or equipment-related disturbances

- ENV – environmentally triggered disturbances

- UNKNOWN – cause not specified in the source documentation

Examples of hazard subtypes:

- LINE_OUTAGE

- TRANSFORMER_TRIP

- GENERATION_TRIP

- BUSBAR_FAULT

- VOLTAGE_STABILITY

- CONV_STORM

- LIGHTNING_STRIKE

- WILDFIRE_PROXIMITY

Hazard classification reflects the proximate trigger of the disturbance.

# 6. Event Grouping

The field event_group_id identifies clusters of related disturbances.

Clusters represent events that occur within a shared operational incident or cascading disturbance.

Examples include:

- simultaneous line trips caused by lightning

- voltage instability events involving multiple assets

- wildfire-related transmission shutdowns

Events without a clear cluster association are assigned an empty group identifier.

# 7. Duration Coding

Event duration is recorded using a standardized format:

| Duration range | Format |
| --- | --- |
| less than 24 hours | HH:MM |
| greater than 24 hours | Xd HH:MM |

Examples:

00:57

05:33

1d 02:15

7d 09:07

Duration classes categorize events into operational impact ranges:

| Duration class | Definition |
| --- | --- |
| <1h | short operational disturbance |
| 1–6h | moderate operational disturbance |
| 6–24h | extended operational disturbance |
| 1–3d | multi-day disturbance |
| >3d | prolonged infrastructure disruption |

# 8. Infrastructure Stress Scoring

Each event is evaluated using the E–D–T infrastructure stress framework, assessing potential stress across three critical infrastructure sectors:

- Energy (E)

- Digital infrastructure (D)

- Transport infrastructure (T)

Sector scores range from:

0 = no impact

3 = high operational stress

Additional metrics capture event characteristics:

| Metric | Scale | Description |
| --- | --- | --- |
| Severity | 0–5 | technical importance of the disturbance |
| Extent | 0–5 | spatial impact |
| Duration | 0–5 | persistence of the disturbance |
| Cascade potential | 0–5 | likelihood of cascading effects |
| Confidence | 0–5 | reliability of available information |

These scores enable quantitative comparison across events and support later systemic stress analysis.

# 9. Relationship to the Integrated Daily Dataset

OPS events represent operational-level disturbances.

They are integrated with other datasets to produce the Integrated Daily Infrastructure Stress Table, which combines:

- RAW OPS events (operational signals)

- RAW EVENTS (societal impacts)

- environmental forcing indicators

This integrated framework enables the calculation of daily infrastructure stress metrics and composite indices.

# 10. Dataset Characteristics

The finalized OPS dataset contains:

86 operational events

April – August 2024

39 standardized variables

The dataset provides a structured representation of operational disturbances in the electricity system during the study period.